## Sheet1
FRIGOTHERM ENGINEERING (PTY) TLD.
Heat Exchangers AFT
Request for quotation
Design Data Questionnaire: Air Blast Blower/Compressor After Coolers
In order to evaluate the design data and to ensure that any equipment subsequently selected and purchased will be compatible with the end user's requirement, certain minimum data is required. Please enter the operational data below. In case of special media other than air or nitrogen, their physical properties are required.
Quote Reference |  |  |  | Equipment Description
Customer |  |  |  | Date
Fax No |  |  |  | Tel No
Contact Person |  |  |  | email
| Hot Medium |  |  | Cooling Medium
Media |  |  |  | Air
Inlet temperature |  |  | deg C |  |  | deg C
Outlet temperature |  |  | deg C
Volume flow (FAD) |  |  | m3/min
Discharge pressure |  |  | bar a
Atmospheric pressure |  |  | bar a
Allowed pressure drop |  |  | kPa
Relative humidity |  |  | %
Physical properties | Specify other media:
Density |  |  | kg/m3 | Complete the adjacent blocks in case of special media.
Specific heat |  |  | kJ/kgK
Thermal conductivity |  |  | W/mK
Dynamic viscosity |  |  | mPas
Location |  | masl
Fan drive
Corrosion protection
Materials of radiator
Max. dimensions |  | m (W) |  | m (H) | ` | m (D)
Documentation | Material certificates |  |  | Pressure test certificate |  |  | QCP
| Third party inspection |  |  | Parts list and material data
| Stress calculation |  |  | Thermal design calculation
Notes:
525VAC
380VAC
24VDC
12VDC
OTHER/SPECIFY:
50Hz
Voltage
Frequency
Protection
IP55
IP66
Supplier
Siemens
WEG
OTHER/SPECIFY:
Material
Aluminium
Cast Iron
60Hz
AISI 316
AISI 304
C.Steel
Air
Nitrogen
Hot dip galvanized
Other